## Slide 1
A. Lauricella
Azienda Ospedaliero – Universitari a Modena Chirurgia Vascolare
Session 3: Italian innovation
Proximal protection device: Mo.Ma.
Chirurgia Vascolare, Ospedali di Modena
Azienda Ospedaliero - Universitaria di Modena
Università di Modena e Reggio Emilia
5th ACST-2 Collaborators’ Meeting
5th September 2017 Oxford

## Slide 2
Ohki T et al. - J Vasc Surg - 1999;30:1034-44
THE MOST RELEVANT OBSTACLE FOR CAS EXPANSION
Azienda Ospedaliero – Universitari a Modena Chirurgia Vascolare
Chirurgia Vascolare Azienda Ospedaliero – Universitaria di Modena
CEREBRAL EMBOLISATION:
the most crucial issue concerning CAS
Notes: The risk of embolization is one of the most crucial issue concerning CAS

## Slide 3
Easy to use
Stable device position
Applicable to all plaque morphology
Capture debris of all sizes
Maintain cerebral perfusion
No restriction on landing zone
Documented results in high-risk lesions and patients
Characteristics of Ideal EPD System

## Slide 4
EPD: why should I use proximal protection?
Ensure Complete Protection for ALL steps of CAS procedure
CAS: risky maneuvers are forbidden
Proximal Protection devices
avoid risk zone
during placement manouvers

## Slide 5
Gore Reversal Flow System
Mo.Ma.
1998
EPD: which one?
2007
2009
Reversal Flow Systems (femural vein shunt)
Proximal Clamping System
Higher incidence of clamping intolerance
More invasive procedure (much more for SilkRoad)
No literature evidence of superiority over MoMa, …….with some additive problems
Proximal Occlusion (CCA – ECA) with blockage of flow in the ICA
miming surgery clamping
Notes: No evidence in literature of superiority over MoMa, with some additive problems:
-procedure is more invasive
-higher incidence of clamping intolerance
-Silk road system (half surgical/half endovascular treatment , not enough an angiographic suite, and risky during catheter placement because of limited room from access to carotid bifurcation)

## Slide 6
1st prototype 1997
1st Case – Modena May 1998
IN VITRO TESTING AND DEVELOPMENT

## Slide 7
EPD: why should I prefer Mo.Ma?
1

## Slide 8
EPD: why should I prefer Mo.Ma?
Pass through plaque without any protection
May cause ICA spasm/dissection
Difficult to use in tortuous ICAs
Sometimes difficult to retrieve
Obstruction could be dangerous
Small debris could be not catched
Incomplete apposition to the wall risk
Mo.Ma. is not a Filter
Filters:
2
Filters work only if well opened

## Slide 9
EPD: why should I prefer Mo.Ma?
Tortuous ICA
Severe ICA
stenosis
Vulnerable
plaque
Mo.Ma helps you
Born to treat easy lesions,
Mo.Ma revealed
it's enormous potential
3
Notes: Il Moma era stato ideato per il trattamento di questo tipo di lesioni…perche non trattare anche quelle piu semplici

## Slide 10
EPD: why should I prefer Mo.Ma?
4
….in patients with high-risk, lipid-rich plaque undergoing CAS, MO.MA led to significantly lower microembolization as assessed by using microembolic signals counts
both worldwide experience reported and scientific literature,
are in favour of MoMa
J Am Coll Cardiol 2011;58:1656–63
Conclusions:

## Slide 11
EPD: why should I prefer Mo.Ma?
…In this randomized trial of patients undergoing CAS,
proximal balloon occlusion as compared with filter protection significantly reduced the embolic load to the brain
Conclusions:
J Am Coll Cardiol 2012;59:1383–9
4

## Slide 12
Intrastent Restenosis
ECA obstruction
CCA Plaque
ECA Stenosis
Mo.Ma: when it’s preferred not to use it

## Slide 13
Proximal embolic protection devices according to scientific and clinical evidence should be preferred during CAS
EPD: take home message
Tecnical improvments
Cerebral Protection
is not only a device,
but a STRATEGY…
Accurate Patient /
lesion selection
Experienced
operators
Effective
therapy
Scaffolding

## Slide 14
CAS New Tecnique:
-Maximum Plaque dilatation
-Stenting
-No post stenting dilatation
1
2
3
4
5
6
7